## Data
Field | Value | Status
AirFeedPressure | 7.5 Bar
AirExstTemperature | 84 °C
RunTimeHours | 5611 Hours
LoadTimeInHours | 5601 Hours
HostAPhaseCurrent | 205.7 A
OilFilterusedtime | 1659 Hours
OilSeparatorusedtime | 1659 Hours
AirFilterusedtime | 1659 Hours
LubeOilusedtime | 1659 Hours
LubeGreaseusedtime | 1659 Hours
DateTime | 2024-08-13 04:53
Load Status |  | Load
Run Status |  | Run
Air Exhaust Temperature |  | OK
Phase Sequence |  | OK
Host Current |  | OK
Air Filter |  | OK
Oil Separator |  | OK
Oil Filter |  | OK
Fan Current |  | OK
Air Feed Pressure |  | OK
Empty Long |  | OK
Alarm |  | OK
Pre-alarm |  | OK
Lube Grease Time |  | OK
Lube Oil Time |  | OK
Air Filter Time |  | OK
Oil Separator Time |  | OK
Oil Filter Time |  | OK
Air Exhaust Temperature Sensor |  | OK
Water |  | OK
Air Exhaust Temperature Sensor |  | OK
Air Feed Pressure Sensor |  | OK